**LIST OF ELECTRICAL ITEMS**

1. Armoured cable 20 mm 3 ½ core - 15 meter.
2. Three Phase Neutral cut out 100 amp - 01 No.
3. Thimble for the above as per cable - 08 No.s
4. TPN Switch 63 amp - 02 No.s
5. MCB 22 amp - 05 No.s
6. Bulb Holder for 12 Points - 12 No.
7. 15/5 amp female plug with box & Switch 06 no.
8. Wire 2.5 mm - 02 Bundle
9. Wire 1.0 mm - 01 Bundle
10. MCB Box for 2 tpn and 5 Single pole MCB 01 No.
11. Switch for Bulb holder with box 12 No.
12. Meter 3 phase 01 No.
13. Batton 50 Pc
14. Batton dabbi 4 way 15 Pc
15. Gitti & Screw 03 packet each
16. PVC Tape 05 No. (One each Red , Green, Blue)

02 black.